## Sheet1
Item# | Item | Qty
1 | 500mcm- [kcmil cable] | 350mtr
2 | 300mcm - [kcmil cable] | 450mtr
3 | 600 mcm - [kcmil cable] | 1500mtrs
4 | 400mcm - [kcmil cable] | 80 mtrs
*** Ul style 10269 efile number e325260
| Transformer | NA | Not mandate
| MCCB |  | required | Minimun 1
| MFM |  | Required
| CT |  | Required
| Lamps |  | Required
| MCB [Control] |  | Required
| SPD |  | Not Mandate
| MCB [Outgoings] |  | Not Mandate
| HMI |  | Not Mandate
| BCPM |  | Not Mandate
| cooling fan |  | Not Mandate
| Frame |  | Not Mandate